## Slide 1: Detection of Malaria in Red Blood Cells using Deep Learning
Abhinav Ram Mohan
MIT ADSP – December 2022

## Slide 2: Scope of the Problem
Malaria is a parasitic infection (plasmodium) of the red blood cells that results in nervous system shutdown and respiratory distress
In 2019 alone, there were more than 229M cases of malaria with 400K reported deaths globally
Traditionally, this disease is diagnosed through microscopy analysis of blood smear

## Slide 3: Addressing a Tedious Task
The current evaluation of blood smear manually comes with the following issues:
Prolonged time for diagnosis
Increased overhead cost for analyst
Understanding these limitations of traditional diagnosis, how can deep learning be used to evaluate plasmodium infected cells?

## Slide 4: Approach and Methodology
Key takeaways from data exploration and visualization
The data is a set of images that are either infected or uninfected by plasmodium
Observe how coloration of the malarial infection is similar to that of uninfected cells as well – as a result potential misclassification issues could arise
Image pre-processing required
Status | Training | Testing
Infected | 12582 | 1300
Uninfected | 12376 | 1300

## Slide 5: Data Visualization
How can we process the images so that they are suitable for analysis by the DL algorithms?
Original Data
The uninfected cells can have the same hue/saturation as the infected portions of parasitized cells – confounding factors if the elements given as “ground truths” have similar features
Images converted to HSV (Hue, Saturation, Value)
As part of the “ground truths” segmentation, we identify the green colorations as parasitic – Thus we label images having this green coloration inside the cells as “parasitized”
Gaussian Blurring
Gaussian blurring is used to normalize pixel intensities across the images so that stark boundary changes are smoothened

## Slide 6: Proposed Model Architecture
The following is the proposed final model architecture
Logic behind multiple layers: classification of images through key features
Images have multiple features in common: Black background, shape of the cells, and general cytoplasmic stain after conversion to HSV
Differentiating factor is the green plasmodium stain
Input data: Augmented set of HSV converted images and labels of plasmodium infected and uninfected cells
Expected output: classification of plasmodium infected cells

## Slide 7: Model Outcomes
Model had an accuracy of 98.5% on the testing dataset
F1-score of 0.99 and MCC of 0.97 (value of 1 indicates no misclassification)
Loss value of 0.0452 (value of 0 indicates no loss – model works great!)
Model was able to classify majority of the plasmodium infected and uninfected cells with a high accuracy (97.8% of uninfected and 99.2% of infected correctly classified)
Helpful in the diagnosis of malaria – expedite diagnosis through automation
Accuracy relatively lower than during testing
Loss relatively higher than during testing

## Slide 8: Translation of the idea into a business solution
Automation of such a task can be used in a multitude of cases:
  Any work involving analysis of cells can be automated in this manner
  Cut overhead cost in the clinical setting for an additional analyst
  Parallel workflows for mass data analysis at a more rapid rate
Example use-cases for such automations using Deep Learning and CNNs:
  Classifying cancer cells
  Identifying the degree and nature of fibrotic tissues for lung and kidney fibrosis
Cloud infrastructure and systems being more and more utilized in the healthcare settings; many come with ML Ops that can be utilized

## Slide 9: Future of ML Ops in Healthcare
Understanding setbacks due to HIPAA regulations and patient data privacy
  Momentum to move towards data anonymity for population data analysis
  Cross-identification of patients by tags than identifying info such as name, DOB, etc if information not necessary for data analysis
Scope for many models to be used for different applications
  Example in the case of image analysis can use different algorithms such as YOLO (you only look once) for real time object detection (i.e. when looking at cell immunogenicity or reactivity towards an antigen)

## Slide 10: Final Comments
Deep learning using CNNs are useful for gaining insights from histological (microscopic) data
Greatly benefit the advancement of science and research through large-scale data analysis
Over time, algorithms that are developed may have multiple uses for multiple applications
Many applications in R&D in clinical settings, academia and biotech industries

## Slide 11: Thank You!

## Slide 12: Appendix

## Slide 13: Base Model
Architecture
Outcomes:
Model Accuracy: 96.5%
From the base model, the model has an accuracy of 96.5%, with a precision on average of 0.97, recall of 0.96 and an f1-score of 0.96.
Of the 1300 images of each class, 21 uninfected are classified incorrectly and 70 parasitized are classified incorrectly
The validation accuracy and training accuracy approach a plateau; increasing epochs beyond this point may not be beneficial to the model. The validation accuracy is slightly higher than the training accuracy and this can be potentially attributed to dropout, where the model may be more robust to the testing data, since the behaviors of the two datasets are different

## Slide 14: Model 1 – One Additional Layer
Architecture
Outcomes:
Model Accuracy: 97.3%
Model 1 has a precision on average of 0.97, recall of 0.97 and an f1-score of 0.97.
Of the 1300 images of each class, 53 uninfected are classified incorrectly and 18 parasitized are classified incorrectly
The validation accuracy and training accuracy approach a plateau very close to each other; increasing epochs beyond this point may not be beneficial to the model. The validation accuracy starts higher than the training accuracy, which may be due to the additional layer and dropout adding robustness to the model. However, this quickly fades with increasing epochs where the training and validation accuracies quickly even out. The increased f1-score indicates a better performance than the base model

## Slide 15: Model 1_2 – 2 Additional Layers
Architecture
Outcomes:
Model Accuracy: 98.2%
Model 1_2 has a precision on average of 0.98, recall of 0.98 and an f1-score of 0.98.
Of the 1300 images of each class, 30 uninfected are classified incorrectly and 17 parasitized are classified incorrectly
The validation accuracy and training accuracy approach a plateau very close to each other. The validation accuracy starts higher than the training accuracy, which may be due to the additional layer and dropout adding robustness to the model. However, this quickly fades with increasing epochs where the training and validation accuracies quickly even out. The increased f1-score indicates a better performance than the base model as well as Model 1, indicating that the increase in model complexity may contribute to feature extraction and identification to improve image classification

## Slide 16: Model 2 – Leaky ReLU and Batch Normalization
Architecture
Outcomes:
Model Accuracy: 98%
This model is very similar to the Base Model, except that the activation functions for the hidden layers are replaced with leaky ReLU and there is batch normalization after pooling each layer; the model has an accuracy of 98%, with a precision on average of 0.98, recall of 0.98 and an f1-score of 0.98.
Of the 1300 images of each class, 26 uninfected are classified incorrectly and 26 parasitized are classified incorrectly
Initially, the validation accuracy is lower than the training accuracy, however as the number of epochs increases, the validation and training accuracies come to align with each other. Considering the architecture is essentially the same as the Base Model, having leaky ReLU and batch normalization improved the performance of the CNN

## Slide 17: Model 3 – Data Augmentation
Architecture
Outcomes:
Model Accuracy: 98.2%
The CNN used is the same as Model 1_2; the purpose was to test effects of data augmentation. The model has an accuracy of 98.2%, with a precision on average of 0.98, recall of 0.98 and an f1-score of 0.98.
Of the 1300 images of each class, 33 uninfected are classified incorrectly and 13 parasitized are classified incorrectly
Throughout this model, the validation accuracy stays higher and relatively constant compared to the training accuracy. This could be due to the implementation of dropout as well as dataset augmentation. Note, however, that the accuracy and f1-score of the model does not change. This could mean that right away, the model reaches its peak accuracy and the number of epochs may not play a significant factor due to the dataset augmentation (i.e., model robustness is potentially increased)
Images were stretched, shrunk, rotated

## Slide 18: Model 4 – VGG16
Architecture
Outcomes:
Model Accuracy: 94.9%
The CNN used is a pretrained model that is 16 layers deep, specifically designed for classification and localization. It is a transfer learning model. The model has an accuracy of 94.9%, with a precision on average of 0.95, recall of 0.95 and an f1-score of 0.95. It is the most poor performing model, indicating that increasing number of layers may not always be beneficial at the cost of losing some needed activation functions or that transfer learning may not be able to identify features in some image sets.
Of the 1300 images of each class, 110 uninfected are classified incorrectly and 23 parasitized are classified incorrectly.
Throughout this model, the validation accuracy stays higher than the training accuracy, however as epochs increases, the validation accuracy decreases and there is no consistency in the accuracy seen. This could also be attributed to the premature interruption of the model implementation with call-backs. Potentially, early stopping may not be beneficial here. Although it is key to note the significant drop in the validation accuracy from 0.99 to 0.95 after 5 epochs. It is unknown at this time whether this downward trend would have continued since no real trend was observed for the validation data. However, this model does not appear to be robust considering these significant fluctuations in the accuracy and the much lower f1-score compared to any of the previous models.

## Slide 19
Chart: Adam Learning Rate
| 1E-4 | 5.0000000000000001E-4 | 1E-3 | 2E-3 | 5.0000000000000001E-3
f1-score | 0.56 | 0.98 | 0.99 | 0.98 | 0.54